ST. ANNE’S

COLLEGE OF ENGINEERING AND TECHNOLOGY

ANGUCHETTYPLAYAM, PANRUTI – 607 110.

ENGINEERING CHEMISTRY LABBORATORY MANUAL

As per ANNA University syllabus

(For First Semester B.E., / B. Tech. Students)

Common to all branches

BY

  - Mrs. RAMYA

- Mr. G.GURUMOORTHy

- Mrs. J.JOAQUINE AROKIA MARY

CONTENTS

| S. No | Experiments | Page No |  |
| --- | --- | --- | --- |
| 1 | ESTIMATION OF HARDNESS OF WATER |  |  |
|  | SAMPLE |  |  |
| 2 | DETERMINATION OF ALKALINITY OF |  |  |
|  | WATER SAMPLE |  |  |
| 3 | ESTIMATION OF CHLORIDE CONTENT IN |  |  |
|  | WATER (ARGENTOMETRIC METHOD) |  |  |
| 4 | ESTIMATION OF DISSOLVED OXYGEN IN |  |  |
|  | WATER SAMPLE (WINKLER’S METHOD) |  |  |
| 5 | ESTIMATION OF COPPER IN BRASS |  |  |
|  | DETERMINATION OF STRENGTH OF |  |  |
| 6 | HCl WITH NaOH BY pH METRY |  |  |
|  | CONDUCTOMETRIC TITRATION OF STRONG |  |  |
| 7 | ACID WITH STRONG BASE |  |  |
|  | CONDUCTOMETRIC TITRATION OF |  |  |
| 8 | MIXTURE OF ACIDS |  |  |
|  | CONDUCTOMETRIC PRECIPITATION |  |  |
| 9 | TITRATION |  |  |
|  | ESTIMATION OF FERROUS ION BY |  |  |
| 10 | POTENTIOMETRIC TITRATION |  |  |
|  | DETERMINATION OF MOLECULAR WEIGHT |  |  |
| 11 | OF A POLYMER (VISCOSITY AVERAGE |  |  |
|  | METHOD) |  |  |

|  | 1. DETERMINATION OF TOTAL, TEMPORARY |
| --- | --- |
|  | AND PERMANENT HARDNESS OF WATER SAMPLE |
| Expt. No: |  |  | Date: |

To estimate the amount of total, temporary and permanent hardness in the given sample of hard water.

PRINCIPLE:

The estimation is based on the complexometric titration.

EDTA using EBT pH=8-10

EBT+M

(NH4Cl

NH4OH)

- Total hardness of water is estimated by titrating against indicator.

+EDTA

[EBT-M]     [EDTA-M] +	EBT

(Unstable complex)	(Stable complex)  (Steel Blue Color)

(Wine red Colour)

EBT indicator forms wine red coloured complex with metal ions present in water. On addition of EDTA metal ions preferably forms a complex with EDTA and steel blue EBT indicator is set free. Therefore change of colour from wine red to steel blue denotes the end point.

- Temporary hardness is removed by boiling the water.

Ca (HCO3)2   CaCO3 +CO2 ↑+H2O

Mg (HCO3)2  Mg(OH)2 +2CO2 ↑

The precipitate is filtered and then the permanent hardness is estimated using EDTA.

PROCEDURE

TITRATION – I

(i) STANDARDISATION OF EDTA

Pipette out 20ml of standard hard water into a 250ml conical flask. Add 5ml of buffer solution and 3 drops of eriochrome black T indictor. Titrate the solution with EDTA from the burette until the colour change s from wine red to steel blue at the end point.Repeat the titration for concordant values. Let the titre value be V1ml.

TITRATION – II

(ii) ESTIMATION OF TOTAL HARDNESS

Pipette out 20ml of sample hard water into a clean conical flask. Add 5ml of buffer solution and 4 -5 drop of Eriochrome black T indicator. Titrate the wine red coloured solution with EDTA from the burette until the colour steel blue appears at the end point.Repeat the titration for concordant values. Let the titre value be V2ml.

TITRATION – III

(iii) ESTIMATION OF PERMANENT HARDNESS

Take 100ml of hard water sample in a 500ml beaker and boil gently for about 1hour. Cool, filter it into a 100ml standard flask and make the volume upto the mark. Take 20ml of this solution and precede it in the same way as in titration (I). The volume of EDTA consumed corresponds to the permanent

hard ness of the water sample. Let the titre value be V3ml. Temporary hardness is calculated by subtracting permanent hardness from total hardness.

TITRATION I

STANDARDISATION OF EDTA

|  |  |  | Indicator: EBT |  |
| --- | --- | --- | --- | --- |
| S.No. | Volume of | Burette Reading | Volume of | Concordant |  |
|  | CaCl2 (ml) |  |  | EDTA | value |  |
|  |  | Initial | Final |  |  |  |
|  |  |  |  | (ml) | (ml) |  |

| Volume of standard CaCl2 | = 20ml |  |
| --- | --- | --- |
| Strength of CaCl2 | = ----------- |
| N Volume of EDTA solution (V1) = -------- | ml |
| Strength of EDTA | = (20 x -----N) / V1 |
| = | ---------- | N |

TITRATION II

ESTIMATION OF TOTAL HARDNESS

| Sample Hard Water Vs Std.EDTA |  |  | Indicator: EBT |  |
| --- | --- | --- | --- | --- |
| S.No. | Volume | of | Burette Reading | Volume of | Concordant |  |  |
|  | sample | hard |  |  |  | EDTA | value |  |  |
|  |  |  | Initial | Final |  |  |  |  |
|  | water (ml) |  |  |  | (ml) | (ml) |  |  |

Volume of sample hard water	= 20ml

Volume of EDTA consumed (V2)	= -------- ml

20ml of given hard water consumes V2 ml of EDTA 20ml of Std. CaCl2 consumes V1 ml of EDTA

Therefore, 1ml of EDTA	= 20/ V1 mg of CaCO3

20ml of given hard water contains 20 x V2 mg of CaCO3	/ V1

Therefore, 1000ml of given hard water	= 20 x V2  x 1000 / V 1 x 20 mg of

CaCO3

= 1000 x V2 / V1 mg of CaCO3

Therefore total hardness of given sample of hard water = ----------ppm

TITRATION III

DETERMINATION OF PERMANENT HARDNESS:

| Std. EDTA Vs Sample boiled hard water | Indicator: EBT |
| --- | --- |
| S.No. | Volume of | Burette Reading (ml) | Volume of | Concordant |

|  | sample | Initial | Final | EDTA | value |
| --- | --- | --- | --- | --- | --- |
|  | boiled hard |  |  |  | (ml) | (ml) |
|  | water (ml) |  |  |  |  |  |  |

Volume of boiled sample hard water	= 20ml

Volume of EDTA consumed (V3 )	=--------ml

20 ml of boiled hard water consumes V3 ml of EDTA

20 ml of boiled hard water contains 20/V1 x V3 mg of CaCO3

Therefore 1000ml of boiled hard water	=  (20/V1 ) x (V3 /20) x 1000mg of

CaCO3

Therefore total hardness of given sample

hard water	= ----------ppm

Therefore permanent hardness of sample

hard water	= ----------ppm

Temporary hardness of the given sample of water = Total hardness – Permanent hardness

= ------------ppm

RESULT

(i) Amount of total hardness of the given sample water	= ------- ppm.

(ii) Amount of  permanent hardness of the given sample water = -------ppm.

(iii) Amount of temporary hardness of the given sample water = -------ppm.

| Hardness, mg/l As CaCO3 | Degree of hardness |
| --- | --- |
| 1-75 | Soft |
| 75-150 | Moderately hard |
| 150-300 | Hard |
| 300 and more | Very hard |

2. DETERMINATION OF ALKALINITY IN WATER

Expt.No:	Date:

AIM:

To determine the type and amounts of alkalinity in the given water sample. A standard

solution of NaOH of strength	N is given.

PRINCIPLE:

Alkalinity in water is due to the presence of soluble hydroxides, bicarbonates and carbonates. Alkalinity can be determined by

Titrimetry using different indicators

Determination of various types and amounts of alkalinity is easily carried out by titration with standard HCl employing the indicators phenolphthalein and methyl orange independently or in succession.

| The following | reactions | occur when different | types of | alkalinity are neutralized |
| --- | --- | --- | --- | --- |
| with acid. |  |  |  |  |
| OH- + H+ | H2O completed at pH 8.2-9.0 | ----------- (1) |
| CO32- | + H+ | HCO3--------------- | (2) |  |

HCO3- +H+  (H2CO3) H2O +CO2 , completed at pH 4.2-5.5-(3)

Neutralization (1) & (2) will be notified by phenolphthalein end-point while all the three will be accounted by methyl orange end-point. Bicarbonate in eqn (3) may be due to the existence of soluble free bicarbonate salts and bicarbonates resulting from half neutralization of soluble carbonates (eqn. (2) various steps to be followed:

- A known volume of water sample is titrated against std. HCl using first phenolphthalein indicator till end-point (P) and the titration is continued without break using methyl orange indicator till the equivalence end-point (M).

- From the magnitudes of the P & M, the nature of alkalinity can be arrived as follows:

| (i) P = M | => | Presence of only OH- |
| --- | --- | --- |
| (ii) 2P = M | => | Presence of only CO32- (iii) |
| P =0, M=0 => |  | Presence of only HCO3- |
|  |  | 2- |
| (iv) 2P > M | => | Presence of OH- & CO3 |
| (v) 2P < M | => | Presence of HCO3- & CO32- |

(Mixture of OH- & HCO3- are not listed since they do not exist together and

| are considered equivalent to CO3 ). | 2- |  |
| --- | --- | --- |
| PROCEDURE |  |  |
| TITRATION – I |  |  |
| STANDARDISATION OF HCl |  |  |

Exactly 20 ml of the given standard NaOH solution is pipetted out into a clean conical flask and 2 drops of phenolphthalein indicator is added. The solution is titrated against the given HCl taken in the burette. The pink colour of the solution in the conical flask disappears at the end-point. The titre value is noted down from the burette and the titration is repeated to get concordant value.

TITRATION – II

ESTIMATION OF ALKALINITY IN WATER SAMPLE

Exactly 20 ml of water sample is pipetted out into a clean conical flask. Few drops of phenolphthalein indicator are added and titrated against a standardized HCl taken in the burette. The end-point is the disappearance of pink colour, which is noted as P. Into the same solution few drops of methyl orange indicator is added. The solution changes to yellow. The titration is continued further by adding same HCl without break till the end-point is reached. The end point is the colour change from yellow to reddish orange. The titre value is noted as M.

The experiment is repeated to get concordant values. From the magnitudes of P & M values, the type of alkalinity present in the water sample is inferred and the individual amounts are calculated and reported.

| TITRATION : 1 | STANDARDISATION OF HCl |  |  |
| --- | --- | --- | --- |
|  |  | Std. NaOH | Vs HCl | Indicator: Phenolphthalein |  |
|  | S.No. | Volume of |  | Burette Reading |  | Volume of | Concordant |  |
|  |  | NaOH (ml) |  |  |  |  | HCl | value |  |
|  |  |  |  | Initial | Final |  |  |  |  |
|  |  |  |  |  |  |  | (ml) | (ml) |  |

| Volume of sodium hydroxide | (V1) | = | 20 ml |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Strength of sodium hydroxide (N1) | = | N Volume |  |  |  |  |
| of HCl | (V2) |  |  | = | ml |  |  |  |  |
| Strength of HCl | (N2) |  |  | = | V1 X | N1 / V |  |  |  |  |
|  |  |  |  |  |  |  | TITRATION – II |  |  |  |  |
|  |  | ESTIMATION OF ALKALINITY IN WATER SAMPLE |  |
|  | Std.HCl Vs Water sample |  |  |  | Indicator:1. Phenolphthalein |  |
|  |  |  |  |  |  |  |  |  |  | 2. Methyl orange |  |  |
|  | S.No. | Volume | of | Burette Reading (ml) |  | Volume of | Concordant |  |
|  |  | water |  |  |  |  |  |  | HCl |  | value |  |  |
|  |  |  |  | Initial | Final |  |  |  |  |  |  |  |
|  |  | sample |  |  |  |  |  |  |  | (ml) |  | (ml) |  |  |
|  |  | (ml) |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | P |  | M | P | M |  | P |  | M | P | M |  |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

- Amount of OH- in water sample:

| Volume of HCl (V1) | = | (2P-M) = | ml |
| --- | --- | --- | --- |
| Strength of HCl (N1) | = | N |  |
| Volume of water sample (V2) | = | 20ml |  |
| Strength of OH- water sample (N2) = | V1 X N1 / V2 |
| Amount of OH- water sample | = N2 X 50 g/lit |  |
|  | = N2 X 50 X1000 mg/lit. |
|  | = | -------------- ppm. |

(ii)Amount of CO32- in water sample:

| Volume of HCl (V1) | = | 2(M-P) = | ml |
| --- | --- | --- | --- |
| Strength of HCl (N1) | = | N |  |
| Volume of water sample (V2) | = | 20 ml |  |
| Strength of CO32- water sample (N2) | = | V1 X N1 / V2 |
| Amount of CO32- water sample | = N2 X 50 g/lit |  |
|  | = N2 X 50 X1000 mg/lit. |
|  | = | ----------- ppm. |  |
| RESULT |  |  |  |
| Alkalanity due to (i) Hydroxide ion=------------- | ppm |  |
| (ii) Carbonate ion=------------- | ppm |  |
| (iii)Bicarbonate ion=----------- | ppm |  |

Expt. No. 3	ESTIMATION OF CHLORIDE CONTENT IN WATER

(ARGENTOMETRIC METHOD)

AIM

To estimate the amount of chloride present in water, being supplied with standard solution of Silver nitrate of normality---------- N and an approximately N/20 solution of potassium thio cyanate.

PRINCIPLE

Alkali halides and alkaline earth halides are determined in acid medium. In this method a known excess of standard Silver nitrate solution is added to the water sample. Then, the unreacted or residual Silver nitrate is estimated by titrating with standard potassium thiocyanate solution. From the difference in the titre values the equivalent of Silver nitrate required for the water sample and hence its weight is calculated.

| AgNO3 | + | NaCl | AgCl ↓ + | NaNO3 |
| --- | --- | --- | --- | --- |
| AgNO3 | + | KCNS | AgCNS ↓ + | KNO3 |

The indicator used in the titration is a ferric solution (ferric alum (or) ferric nitrate). At the end point, a slight excess of KCNS produces a reddish brown colour due to the reaction

Fe3+  + 3CNS-   Fe(CNS)3

PROCEDURE TITRATION I

STANDARDISATION OF KCNS

The burette is washed well with distilled water and rinsed with the small amount of potassium thiocyanate (KCNS) solution. It is then filled with the same solution up to the zero mark without any air bubbles. The pipette is washed with

distilled water and then rinsed with small amount of standard AgNO3 solution . 20ml of this solution is pipetted out into a clean conical flask. 5ml of dil.HNO3 solution is added. The

solution is then titrated against potassium thio cyanate solution taken in the burette. The end point is the appearance of reddish brown colour. Titration is repeated for concordant values. From this value strength of potassium thio cyanate is calculated.

TITRATION II

ESTIMATION OF CHLORIDE IN WATER SAMPLE

Exactly 20ml of the given water sample is pipetted out into a clean flask. About 5ml of dil.HNO3 solution followed by 40ml of standard AgNO3 solution are added to it. The mixture is slightly warmed (or) thoroughly shaken, so that all chlorides are coagulated as AgCl. It is cooled and filtered. The filtrate is collected in a conical flask. The precipitate is washed with cold water until it is free from AgNO3. About

1ml of ferric alum indicator is added to the solution and titrated against standard potassium thiocyanate solution taken in the burette. The end point is the appearance of faint, reddish brown colour. The titration is repeated for concordant value.

From the titre value, the volume of potassim thio-cyanate equivalent to the AgNO3 reached with the chloride is determined, which in turn gives the weight of chloride in the whole of the given solution.

|  |  |  |  |  | TITRATION I |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | STANDARDISATION OF KCNS |  |  |
| Std. AgNO3 Vs KCNS |  | Indicator: Ferric alum |  |
|  | S.No. | Volume | of | Burette Reading (ml) | Volume of |  | Concordant |  |
|  |  | AgNO3 | (ml) |  |  | KCNS |  | Value (ml) |  |
|  |  |  |  | Initial | Final |  |  |  |  |
|  |  |  |  |  |  | (ml) |  |  |  |

| Volume of silver nitrate | (V1) | = 20 ml Strength |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Strength of silver nitrate | (N1) | = | N |  | TIT |  |
| Volume of potassium thio cyanate (V2) = | ml |  |  |  |
|  |  |  | RA |  |
| Strength of potassium thio cyanate (N2) = | (V1 X N1 | ) / V2 | TIO |  |
|  |  |  | N II |  |

ESTIMATION OF CHLORIDE IN WATER SAMPLE

| Std. KCNS Vs Water, sample |  | Indicator: Ferric alum |  |
| --- | --- | --- | --- |
| S.No. | Volume of | Burette Reading (ml) |  | Volume of | Concordant |  |
|  | water |  |  |  | KCNS | Value (ml) |  |
|  |  | Initial | Final |  |  |  |  |
|  | sample |  |  |  | (ml) |  |  |
|  | (ml) |  |  |  |  |  |  |

| Volume of unreacted silver nitrate(V1 ) = | ml |  |  |
| --- | --- | --- | --- |
| Strength of silver nitrate (N1) | = | N Volume of |  |
| Potassium thiocyanate(V2) | = | ml Strenght of Potassium |  |
| thiocyanate (N2) | = | N |  |
| Volume of unreacted silver nitrate (V1) | = (V2 | x N2)/ (N1) |  |
|  | = ----------- | ml |  |
| Volume of silver nitrate consumed by the chloride ions = 40- ----- |  |
|  |  | = ------ | ml |

Amount of chloride ions in water sample

Volume of reacted silver nitrate (V1)

Volume of water sample, (V2)

Strength of chloride in water sample(N2)

Amount of chloride ions in1000ml

RESULT

= ml  Strength of silver nitrate (N1)

- N

    - 20 ml

    - V1  X N1 / V2

    - N2 x eq.wt of Cl x1000

  - ---------mg/l

The amount of chloride present in the whole of the given solution = ----- mg/l.

4 . ESTIMATION OF DISSOLVED OXYGEN IN

WATER SAMPLE (WINKLER’S METHOD)

Expt.No:	Date:

AIM

To determine the amount of dissolved oxygen (DO) in the given water sample by Winkler’s method.

PRINCIPLE

Two methods are widely used to determine DO are: (a)

Winkler’s method of iodometry

(b) Electrometric method using a membrane electrode.

Winkler’s method

DO reacts with Mn2+ ions in alkaline medium forming basic magnanic oxide which is a brown precipitate.

Mn2+ + 2 OH- + ½ O2   MnO(OH)2  --------( 1)

This brown precipitate dissolves on acidification and when treated with iodide ions liberates iodine in an amount equivalent to the initial DO.

MnO(OH)2  + 2I- + 4H+     Mn2+  + I2	+ 3H20 --------(2)

The liberated iodine is finally estimated by titration with sodium thio sulphate.

S2O32-	+	I2     S4O62-	+	2I-	------- --(3)

The stoichiometric expression relating DO and sodium thio sulphate is given below:

1 ml of 0.0125N Na2S2O3	≡≡	0.1 mg DO	---------(4)

Sodium	thio	sulphate	(being	a	secondary	standard)	is	standardized

iodometrically using standard K2Cr2O7.

Iodimetry :	I2 (direct source)  Vs Na2S2O3.

Iodometry:	(oxidant + excess I- )	≡  I2 (liberated) Vs Na2S2O3

In iodometric titrations, a slight excess of	I2	must be added to ensure complete

conversion of I-	in amounts equivalent to the oxidizing agent being estimated.

Starch is added as indicator which forms an intense blue colour loose adsorption complex with iodine present in low concentrations. The complex gets readily broken when thio sulphate addition is continued and hence a sharp colour change occurs at the end-point.

PROCEDURE

1) STANDARDISATION OF SODIUM THIO SULPHATE

20ml of std. K2Cr2O7 solution is pipetted out into a clean conical flask. About 10ml of 10% KI solution and 20ml of dil.sulphuric acid are added. The liberated iodine is titrated against sodium thio sulphate in the burette. When the solution turns yellow (pale) colour, 2 to 3 drops of freshly prepared starch indicator is added and the solution assumes intense blue colour. The addition of sodium thio sulphate is continued till the blue colour is discharged leaving behind a pale green colour (due to the presence of Cr ions). The titration is repeated to get a concordant value.

2) ESTIMATION OF DO (WINKLERS METHOD)

The given water sample is filled in a reagent bottle up to rim and stoppered. This is done in order to exclude any air column present in the closed bottle that may increase the actual DO leading to an error.

With the stopper removed, manganous sulphate (36%, 2ml) and alkaline KI(∼10%,

2ml ) are added. In this process, some sample may overflow. The overflow may also occur when the stopper is inserted after the addition of each reagent. The stoppered bottle along with the reagents is shaken by turning it several times up and down till the

formation of a brown coloured basic manganic oxide. It is subsequently dissolved by adding sulphuric acid(1:1 few drops).20 ml of this reddish brown solution is pipetted out in to a clean conical flask and a few drops of starch solution are added. The resultant blue coloured solution is titrated against the standardised sodium thio sulphate till the end point is reached which is shown by the discharge of blue colour. The titration is performed in duplicate.

TITRATION1

STANDARDISATION OF SODIUM THIO SULPHATE

Std. K2Cr2O7  Vs Na2S2O3	Indicator: Starch

| S.No. | Volume | of | Burette Reading (ml) | Volume of | Concordant |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | K2Cr2O7 |  |  |  |  | Na2S2O3 | value |  |
|  |  |  | Initial | Final |  |  |  |
|  | (ml) |  |  |  |  | (ml) | (ml) |  |

| Volume of potassium dichromate (V1) | = | ml |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Strength of potassium dichromate (N1) | = |  | N |  |  |
| Volume of sodium thio sulphate (V2) |  | = | ml |  |  |
| Strength of sodium thio sulphate (N2) | = V1 | x N1 / V2 |  |  |
|  |  |  |  |  |  | =--------- N |  |  |  |
|  |  |  | TITRATION II: ESTIMATION OF DO |  |
| Std. Na2S2O3 Vs treated water sample |  |  |  | Indicator :Starch |  |
|  | S.No. | Volume of |  | Burette Reading (ml) | Volume of | Concordant |  |
|  |  | water |  |  |  | S2O3 | 2- | value |  |
|  |  |  |  | Initial | Final |  |  |  |  |
|  |  | sample (ml) |  |  |  |  | (ml) |  | (ml) |  |

| 1ml of 0.0125 N of S2O3 2- | = 0.1mg of dissolved oxygen |  |
| --- | --- | --- |
|  | ml of |  | N of S2O3 2- | = X mg of dissolved oxygen |  |
|  |  |  | X | = (0.1 x |  | x | ) / 1 x 0.0125 |  |

|  | = |  |  |  |  | mg of dissolved oxygen |
| --- | --- | --- | --- | --- | --- | --- |
| 20 ml of water contains |  | mg of dissolved oxygen |
| Therefore 1000 ml of water contains = ( |  |  |  | x1000) / 20 mg/l |
|  | = |  |  |  | mg/l |

RESULT

The amount of DO present in the given water sample  = ---------  mg/lit.

5. ESTIMATION OF COPPER IN BRASS

Expt. No:	Date:

AIM:

To estimate the amount of copper present in the given sample of brass.

PRINCIPLE

Brass is an alloy with 55% copper and 33% zinc and smal

amount of lead	and	aluminium. Brass is dissolved in con.nitric acid to convert

copper  present  in  the  alloy  to  cupric  ions.	Then	copper	is	estimated

iodometrically by titrating the iodine that was liberated against standard sodium thio sulphate solution using starch as indicator.

2 Cu2+ + 4I- → 2 CuI + I2

I2  + 2 Na2S2O3 → Na2S4O6  +2NaI

CHEMICALS REQUIRED

0.1N Potassium dichromate, 0.1N sodium thio sulphate, 0.01M EDTA, Con. HNO3 , KI, EBT,NH3 / NH4Cl buffer, Starch.

PROCEDURE

PREPARATION OF BRASS ALLOY SOLUTION

About 0 . 2 g of the sample of brass was weighed accurately and transferred into a clean dry 250ml beaker.To this about 10ml of con. Nitric acid was added and allowed to boil for a small interval of time till the alloy was dissolved. This was cooled, diluted with water and made upto 250 ml in a standard flask.

TITRATION I

STANDARDIZATION OF  Na2S2O3	WITH K2Cr2O7	SOLUTION

20ml of the standard potassium dichromate solution is pipetted out into a conical flask. 20ml of dil.sulphuric acid and 10ml of 10% KI are added. The liberated iodine is titrated against sodium thio sulphate taken in the burette till the colour changes to yellowish green. 1ml of starch is added till the colour changes from blue to light green colour. Titration is repeated for concordance.

TITRATION II

ESTIMATION OF COPPER

The brass solution is transferred into the 100ml standard flask and 10ml of dil sulphuric acid is added and made up to the mark using distilled water.

20ml of the alloy solution was pipetted out into a conical flask. To this aqueous ammonia is added in drops till a blue precipitate of Cu(OH)2 is formed. One or two drops of acetic acid is added to dissolve the precipitate. To this 10ml of 10% KI is added and titrated against standard thio sulphate using starch as indicator. The end point is the disappearance of blue colour and appearance of green colour.

| TITRATION I |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | STANDARDIZATION OF Na2S2O3 | WITH K2Cr2O7 SOLUTION |  |
| Std. K2Cr2O7 Vs | Na2S2O3 |  | Indicator : Starch |  |
| S.No. | Volume | of | Burette Reading | Volume of |  | Concorda |  |  |
|  | K2Cr2O7 |  |  |  | Thio |  | nt value |  |  |
|  |  |  | Initial | Final |  |  |  |  |  |
|  | (ml) |  |  |  | (ml) |  | (ml) |  |  |
| 1. |  |  |  |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |  |  |  |

| Volume of K2Cr2O7 | V1 | = 20 | ml |
| --- | --- | --- | --- |
| Strength of K2Cr2O7 | N1 | = | N |
| Volume of Na2S2O3 V2 | = | ml |
| Strength of Na2S2O3 | N2 | = -------- N |
|  |  | = ( 20 x N1 )/ V2 |
|  |  | = | N |
| Strength of Na2S2O3 | is ------ N. |  |

| TITRATION II ESTIMATION OF COPPER |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Std. Thio Vs Alloy solution |  | Indicator: Starch |  |
|  | S.No. | Volume of | Burette Reading | Volume of |  |  |
|  |  | Alloy |  |  | Thio |  | Concorda |  |
|  |  |  | Initial | Final |  |  |  |  |
|  |  | Solution |  |  | (ml) |  | nt value |  |
|  |  | (ml) |  |  |  |  | (ml) |  |
|  | 1. |  |  |  |  |  |  |  |
|  | 2. |  |  |  |  |  |  |  |
|  | 3. |  |  |  |  |  |  |  |

Volume of Na2S2O3 V1 Strength of Na2S2O3 N1 Volume of brass solution V2 Strength of brass solution N2

Strength of copper solution is

- ml

    - N

      - ml

  - ?

  - (V1x N1)/ V2

    - --------- N =---------

CALCULATION OF AMOUNT OF COPPER:

Amount of copper in 1lt of given brass solution = strength of solution x Eq. Wt of  Cu

| = ----- | N x 63.5 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| So, Amount of copper in 100ml of given brass solution | = (----- | N x 63.5 x 100 ) / 1000 |
| ie, | ----------g of brass contains = ------ | g of copper |  |  |
| Therefore, % of copper in the given brass sample = -------- | g x 100 |
| ------ | g of brass= | % |  |  |  |  |  |
| RESULT |  |  |  |  |  |  |
| The given sample of brass was found to contain copper= | % |  |  |

- DETERMINATION OF STRENGTH OF HCl WITH NaOH BY pH

METRY

Expt.No:	Date:

AIM:

| To determine the strength of given HCl by pH metry. A standard solution of |  | N |  |  |
| --- | --- | --- | --- | --- |
| NaOH is provided. |  |  |  |  |  |  |  |  |
|  | PRINCIPLE |  |  |  |  |  |  |  |
| The pH of a solution is related to H+ | ions | concentration | by | the |  |
| following formula. | pH = -log [ H+ ] |  |  |  |  |  |  |
| . |  |  |  |  |  |  |  |  |
| pH of a solution is indirectly related to H+ ion concentration. When NaOH | is added |  |
| slowly to HCl, H+ ions get neutralized by OH- |  | ions. | The | pH |  |
| increases slowly. |  |  |  |  |  |  |  |  |
| H+ + | Cl- | + Na+ | + OH- | Na+ + Cl- + H2O |  |  |  |  |
| When all H+ | ions of HCl are neutralized at the end point, addition of NaOH |  |
| causes high increase in pH because of the addition of excess OH- ions. |  |  |  |  |
| MATERIALS REQUIRED |  |  |  |  |  |  |  |
| (i) | pH meter, | (ii)Glass | electrode, (iii) | Burette, (iv) | Pipette, (v) Std.NaOH, (vi) |  |
| HCl . |  |  |  |  |  |  |  |  |  |

PROCEDURE

The burette is washed with distilled water, rinsed with the given std. Sodium hydroxide and filled with the same solution. Exactly 20ml of the given HCl solution is pipetted out into a clean beaker. It is then diluted to 50ml with distilled water. A glass electrode is dipped into the solution and it is connected to a pH meter.

Now NaOH is gradually added from the burette to HCl taken in the beaker. pH of the solution is noted for each addition of NaOH. This process is continued until atleast 5 readings are taken after the end point.

A fair titration is performed to find the exact end point.

RESULT

(i)	Strength of the given HCl solution	= ---------- N

- Amount of HCl present in 1 litre of the solution = -----g

- Std.NaOH Vs HCl

| S.No | Volume of | pH | ∆pH | ∆V | ∆pH/∆V |
| --- | --- | --- | --- | --- | --- |
|  | NaOH (ml) |  |  |  |  |

| Volume of NaOH | (V1) | = | ml (from fair graph) |
| --- | --- | --- | --- |
| Strength of NaOH | (N1) | = | N |
| Volume of HCl | (V2) | = | ml |
| Strength of HCl | (N2) = (V2 | x N2 ) / V1 |
| Strength of HCl |  | = ---------- N |
| Amount of HCl present in |  |  |
| 1000mlof the solution | = N2 x equivalent weight of HCl (36.5) |
|  |  |  | = --------- | g. |

Model graph

PH	∆pH/∆V          PH

Volume of NaOH                                  Volume of NaOH

7.CONDUCTOMETRIC TITRATION OF STRONG ACID WITH STRONG BASE

Expt. No:	Date:

AIM:

To determine the strength of a strong acid by titrating a strong acid and strong base conductometrically. A standard solution of NaOH of known strength ---------N is provided.

PRINCIPLE

Solution of electrolytes conducts electricity due to the presence of ions. The specific conductance of a solution is proportional to the concentration of ions in it. The

reaction between HCl and NaOH may be represented as,

HCl +NaOH  NaCl + H2O

When a solution of hydrochloric acid is titrated with NaOH, the fast moving

hydrogen ions are progressively replaced by slow moving sodium ions. As a result conductance of the solution decreases, this decrease in conductance will take place until the end point is reached. Further addition of alkali raises the conductance sharply, as there is an excess of hydroxide ions.

A graph is drawn between volume of NaOH added and the conductance of solution. The exact end point is intersection of the two lines.

PROCEDURE

The given HCl is made up in a 100ml standard flask. 20 ml of this solution is pipetted out in a beaker. The burette is filled with standard sodium hydroxide upto the mark.

A conductivity cell is dipped into the beaker with HCl solution and connected to the

| terminals of the conductivity bridge. | About 1ml of Std NaOH is added and stirred |
| --- | --- |
| well for 30 seconds. | The | conductance is measured and the titration | is |
| continued till five measurements after the endpoint. | A graph is plotted for | the |
| conductance values against the volume of NaOH and the endpoint range is fixed. |  |

The above titration is repeated again and the exact endpoint is found out by adding in increments of 0.1ml of NaOH in the end point range and continued after endpoint upto five readings.

A graph is plotted with the conductance values against the volume of NaOH and then the strength of the strong acid is found out.

| RESULT |  |  |  |
| --- | --- | --- | --- |
| T he strength of the given strong acid is found to be --------------- | N |
|  | S.No | Volume | of Observed |  |
| . | NaOH | conductance |  |
|  |  | Added (ml) | (m mho) |  |

| Volume of Sodium Hydroxide | (V1) = | ml (from fair graph) |  |  |
| --- | --- | --- | --- | --- |
| Normality of Sodium Hydroxide | (N1) = | N |  |  |  |
| Volume of Strong acid | (V2) = | ml |  |  |  |
| Normality of Strong acid | (N2) = | (V1 | x N1) /V2 |  |
|  |  | = --------------- | N |  |
| The strength of the given strong acid is found to be = | ------------ N |  |

.

  - CONDUCTOMETRIC TITRATION OF MIXTURE OF ACIDS

Expt. No:	Date:

AIM:

To determine the strength of strong acid and weak acid present in the given acid mixture

PRINCIPLE

Solution of electrolytes conducts electricity due to the presence of ions. Since specific conductance of a solution is proportional to the concentration of ions in it, conductance of the solution is measured during the titration.

HCl	+	NaOH   NaCl	+	H2O	(I neutralization)

CH3COOH+	NaOH      CH3COONa+H2O	(II neutralization)

When a solution of HCL is treated with NaOH the fast moving hydrogen ions are progressively replaced by slow moving sodium ions. As a result conductance of the solution decreases. This decrease will take place until the first neutalisation point is reached. Further addition of alkali results in formation of sodium acetate

Since sodium acetate is stronger than acetic acid conductivity	slowly

increases until all acetic acid is completely neutralized.(II Neutalisation) This is due to the

presence of fast moving OH-	ions. Anymore addition of alkali increases the conductance

sharply.

PROCEDURE

The burette is filled with NaOH solution upto zero mark. The given unknown solution (mixture of a weak & a strong acid) is transferred into a 100ml standard flask and made upto the mark with distilled water. 20ml of the made up solution is pipetted out into a clean 100ml beaker. The solution is diluted to 50ml using distilled water. A conductivity cell is dipped into the solution and the terminals are connected to conductivity meter.

The burette solution is added to the unknown solution in the beaker in 1 ml increments, the solution is stirred using a glass rod, and the observed conductance values are read from the meter. The conductance values show decrease in the initial values, then gradually increases

and finally shows a steep	increase.

The titration hence shows  two  end-  points   (ie)  neutralization (weak acid) & II neutralization (strong acid).   The titration is repeated with the same procedure by adding 0.1 ml increments of the burette solution in the region of the end-point and the conductance values are registered for all the increments. The accurate end- point is obtained by plotting a graph between observed conductances Vs volume of NaOH added.

RESULT

The strength of acids present in the given unknown solution are:

| a) Strong acid = |  | N |  |
| --- | --- | --- | --- |
| b) Weak acid = | N |
|  | S.No | Volume | of | Observed |
|  | . | NaOH |  | conductance |
|  |  | Added (ml) |  | (m mho) |

(i) Calculation of strength of HCl:

| Volume of NaOH | (V1) | = |  | ml (from fair graph) |
| --- | --- | --- | --- | --- |
| Strength of NaOH | (N1) | = |  | N |
| Volume of HCl | (V2) | = |  | ml |
| Strength of HCl | (N2) = (V2 | x N2 ) / V1 |
| Strength of HCl |  | = ---------- N (ii) |
| Calculation of strength of CH3COOH: |
| Volume of NaOH | (V1) | = | ml (from fair graph) |
| Strength of NaOH | (N1) | = | N |
| Volume of CH3COOH (V2) | = | ml |
| Strength of CH3COOH (N2) = (V2 x N2 ) / V1 |
| Strength of CH3COOH |  | = ---------- N |

9 .CONDUCTOMETRIC PRECIPITATION TITRATION

Expt.No:	Date:

AIM:

To determine the amount of BaCl2 present in the given solution by conductometric titration.

PRINCIPLE

| Solution of electrolytes conduct electricity due to the presence of ions. Since |
| --- |
|  | specific | conductance of a solution | is proportional | to the |
| concentrations of ions in it, conductance of solution is measured during titration. |
| In the | precipitation | titration, the ions are converted to insoluble precipitate, |
| which will not contribute in the conductance. |  |  |
| When | Na2SO4 |  | is added slowly from the | burette to the | solution of |

barium chloride, barium sulphate gets precipitated while chloride ions are liberated, as shown in the equation.

|  |  | .[ Ba2+ + 2 Cl- ]+ [ 2Na+ | + SO42- ] | BaSO4 ↓ + 2Na+ + 2Cl- |  |
| --- | --- | --- | --- | --- | --- |
|  | After the end-point, when | all | the Ba2+ ions are replaced, further addition of |  |
| Na2SO4 increases the conductance. | This is due to the presence of excess of Na+ and |  |
| SO4 | 2- | ions in the solution. |  |  |  |  |
| PROCEDURE |  |  |  |  |
|  | The burette is filled with | Na2SO4 solution | upto the zero mark. The given |  |

unknown solution is carefully transferred into a 100ml standard flask using a funnel and glass rod and the solution is made upto the mark using distilled water. 20ml of the made up solution is pipeted out into a clean

100ml beaker. The conductivity cell is placed in it and then diluted to 50ml by adding distilled water. The two terminals of the cell are connected to a conductivity bridge.

1ml of the burette solution is added to the solution taken in the beaker, stirred and the conductance is read from the conductivity meter. With successive additions of sodium sulphate solution from the burette, the conductance values decreases first and then starts increasing which is the end point of the titration. After reaching the end point the titration is continued for few more readings.

The titration is repeated with the same procedure. In the range of the end point the titration is carried out by adding 0.1ml increments and the accurate end point is obtained by plotting a graph between the observed conductance values and the volume of sodium sulphate solution added.

| S.No. | Volume | of | Conductance in |
| --- | --- | --- | --- |
|  | Na2SO4 |  | mmhos. |

Calculation of strength of BaCl2:

| Volume of Na2SO4 | (V1) | = | ml (from fair graph) |  |
| --- | --- | --- | --- | --- |
| Strength of Na2SO4 | (N1) | = | N |  |  |
| Volume of BaCl2 | (V2) | = | ml |  |  |
| Strength of BaCl2 | (N2) = (V2 x N2 ) / V1 |  |  |
| Strength of BaCl2 |  | = ---------- N |  |  |  |
| Amount of BaCl2 present in |  |  |  |  |
| 1 litre of the solution | = | Strength | x equivalent weight of |  |
| BaCl2(112.14) |  | = ---------- g |  |  |  |
| RESULT |  |  |  |  |  |
| The amount of BaCl2 | present in 1 litre of the | solution is -------g. |  |

10.ESTIMATION OF FERROUS ION BY POTENTIOMETRIC TITRATION.

Expt. No:	Date:

AIM:

To estimate the amount of ferrous ion present in whole of the given solution potentiometrically. A standard solution of potassium dichromate of strength

N is provided.

PRINCIPLE

Potentiometric titrations depend on measurement of emf between reference electrode and an indicator electrode. When a solution of ferrous iron is titrated with a solution of potassium dichromate, the following redox reaction takes place. During this titration Fe2+ is converted in to Fe3+, whose concentration increases. At the end point, there will be a sharp change due to sudden removal of all Fe2+ ions.

The cell is set up by connecting this redox electrode with a calomel electrode as shown

| below: |  |  |  |
| --- | --- | --- | --- |
| Pt, Fe2+, Fe3+// KCl , HgCl2 (s), Hg |  |  |  |
| A graph between emf measured against the volume of potassium dichromate |  |
| added is drawn and the end point is noted from the graph. |  |  |  |
| PROCEDURE |  |  |  |
| The given Ferrous solution is made up in a 100ml standard flask. | Std. |
| Potassium dichromate solution is filled in the burette upto the mark. |  |  |
| 20ml of Ferrous solution is pipetted out into a 100 ml beaker. | 10ml | of |
| dil.H2SO4 and 20ml of distilled water are added. | A platinum electrode and | a |

calomel electrode are dipped into this solution and connected to a potentiometer. Then 1ml of potassium dichromate is added to the solution and stirred well for 30 seconds. The emf is measured and the titration is continued by adding potassium dichromate in 1ml increments till five measurements after the end point.

A graph is drawn by plotting the emf against the volume of potassium dichromate and the end point range is fixed.

About 20ml of Ferrous solution is pipetted out and the titration is continued by adding 0.1ml increments of potassium dichromate in the end point range. The emf is measured for each 0.1ml after stirring the solution well.

A graph is plotted between emf and the volume of potassium dichromate and also

a first derivative graph is plotted (ΔE/ΔV against vol. of K2 Cr2O7). The strength of Ferrous solution and the amount of Ferrous ion present are calculated from the end point.

| S.No | Volume | of | Emf | in | ∆E in mVolts | ∆V in ml | ∆E/∆V in |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Dichromate | in | mVolts |  |  |  | m Volts/ml |
|  | ml |  |  |  |  |  |  |

Volume of Potassim dichromate	(V1) =	ml (from fair graph)

Normality of Potassium dichromate	(N1) =	N

Volume of Ferrous sulphate	(V2) =	ml

Normality of Ferrous sulphate	(N2) = (V2  x N2 ) / V1

= ------------ N

Amount of Ferrous ion present in 1000ml of the solution

  - Sterngth x equivalent weight of Fe (55.85)

- G

RESULT

The amount of Ferrous ion present in 1litre of the solution is ------------ g

11.DETERMINATION OF MOLECULAR WEIGHT OF A POLYMER (VISCOSITY AVERAGE METHOD)

Expt.No:	Date:

AIM:

To determine the molecular weight of a polymer by viscocity average method.

PRINCIPLE

Viscocity average method is based on the flow behaviour of the

polymer solutions I According to Mark – Howink equation, the intrinsic viscosity of a polymer is given as

[η]int  = KMa

Where,

M = molecular weight of the polymer

K & a are constants for a particular polymer – solvent system η = Intrinsic viscosity = [ηsp/C]C=0 = [ηr/C]C=0

| ηsp | = specific viscosity | = ηr – | 1 |
| --- | --- | --- | --- |
| ηr | = relative viscosity = | η/η0 = | t / t0 |

Since accurate measurement of absolute viscosity is a difficult task, relative viscosity is taken into account.

η

η0

t

t0

- Viscosity of the polymer solution

  - Viscosity of the pure solvent

    - flow time of the polymer solution

      - flow time of the pure solvent

The flow time of the polymer solution (t) and that of the pure solvent (t0)

are found experimentally and substituted to get  ηsp  , ηr	and thus [η]int.

Knowing K & a, molecular weight of the polymer solution is calculated.

PROCEDURE

Accurately 1g of polyvinyl pyrrolidone is weighed, dissolved in water and made up to

100ml (1dl) in a standard flask.From	the	bulk	solution, polymer

solutions of conc. 0.1g/dl, 0.2g/dl, 0.3g/dl.0.4g/dl and 0.5g/dl are prepared using the relation V1N1 = V2N2

[E.g. X * 1g / dl = 0.2g / dl * 100ml, Where X = volume of bulk solution to be taken for preparing 100ml of 0.2g/dl Polymer solution. A well cleaned Ostwald viscometer is rinsed with water and filled with 10ml of distilled water, Water in the viscometer is sucked into the upper bulb using a rubber bulb. The time taken for water to flow from the upper mark to the lower mark is measured with a stop clock and noted as t0.

Water from the viscometer is drained completely and 10ml of the polymer solution of conc.

0.1g/dl is poured in the viscometer.  The flow time of the polymer solution is found and noted as t.

The procedure is repeated with the other solutions of the polymer.

| From the values of t and t0 , ηr / C and | ηsp | / C are calculated and graphs with ηsp / C Vs |
| --- | --- | --- |
| C and ln ηr | / C | Vs C are drawn. The straight lines obtained are extrapolated to zero concentration. The |
| intercept values are equal to [η]int. |  |  |  |
| From | [η]int | molecular weight of the polymer | (M) is calculated |
| using the formula |  |  |  |
| [η]int = KMa | and the table. |  |  |  |
| Room temperature |  | = | -------------- |
| Solvent used |  |  | = Water |
| K of the polymer solvent system |  | = | -------------- |
| a of the polymer-solvent system |  | = | ------------- |
| volume of liquid taken for finding the flow time | = | --------- |
| flow time of the solvent |  | = | -------------- |

| s.no | Conc. | Flow | ηr = t / t0 | ln ηr | ln ηr / C | ηsp=ηr - | ηsp / C |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | g/dl (C) | time |  |  |  | 1 |  |
|  |  | (t)sec |  |  |  |  |  |

| S.No | Polymer | Solvent | K∗10-5 | a |
| --- | --- | --- | --- | --- |
| . |  |  | (g/ml) |  |

| 1. | Polyvinyl alcohol | Water | 45.3 | 0.64 |  |
| --- | --- | --- | --- | --- | --- |
| 2. | Polyvinyl pyrrolidone | Water | 39.3 | 0.59 |  |
| 3. | Polystyrene (atactic) | Benzen | 11.5 | 0.73 |  |
| 4. | Polystyrene | e | 10.6 | 0.735 |  |
|  | (isotactic) | Benzen |  |  |  |
|  |  | e |  |  |  |

RESULT:

The molecular weight of the given polymer	= (i) ------------

(ii) ------------------